FMS Update
12 February 2015
Spin PWG Meeting
Christopher Dilks

---
Outline
Channel Health
LED Resolutions
Gain Curves

---
Channel Health
Installed channels: 1237/1264 (761/788 large; 476/476 small)
3 cells to stack (0.2%)
24 bases to be installed (1.9%)
21 new channels + 3 more bases which may need to be replaced
(1/3 bases is an old base, but it's an edge cell)
14-20 bases to be installed by next scheduled access (Feb. 18th)
30 channels missing LEDs (2.4%)
Not required to monitor gain for new bases
3 channels missing signals in QTs (0.2%)
Other problems:
11-16 small cell problems (2-3% of installed small cells)
3 large cell problems (0.4% of installed large cells)

---
Channel Health
18 bases to install
3 cells to stack
Day 37 data
at typical
HV setpionts
  Large: -1300V
  Small: 0xA0
N
S

---
LED Resolutions – Large Cells
STAR magnet OFF
Day 20
STAR magnet ON
Day 41

---
LED Resolutions – Small Yale Cells
STAR magnet OFF
Day 20
STAR magnet ON
Day 41

---
LED Resolutions – Small Russian Cells
STAR magnet OFF
Day 20
STAR magnet ON
Day 41

---
Gain Curves
Day 41 data
STAR magnet ON
HV setpoint ranges:
1000-1750 V for large cells
0x90-0xFF for small cells
(max setting is 0xFF; typical running setting is 0xA0)
Fit Function:
(Typical examples shown below)
Large cell
Small cell

---
Gain Curves – α-distributions
α-distribution (large cells)
Large Cells
For gain calibration, we plan to use average α from fit results for different cell classes
α-distribution (small cells)
Yale Cells
Russian Cells

---
Conclusion
FMS programming completed by trigger group
QT timing is now optimized
PMT gain calibration is currently underway
Hardware mapping problems between QTs and FMS to be resolved before taking calibration data
New Tier1 file planned to mask disconnected QTs
Calibration data to be taken later today